# Garcia Laboratory Calculated Results

Equations used in patient laboratory reports

Garcia Laboratory uses the following equations to calculate results from measured laboratory values and patient information. Calculated results are reported when the required inputs are available and applicable reporting criteria are met.

# Chemistry and estimated kidney function

| Calculated result | Equation | Variables and units |
| --- | --- | --- |
| Estimated GFR MDRD | 186 × SCr^−1.154 × age^−0.203 Multiply by 0.742 for female patients. Multiply by 1.212 for African American patients. | SCr = serum creatinine in mg/dL; age in years. Result: mL/min/1.73 m²; whole number. |
| Albumin globulin ratio | Albumin ÷ globulin | Both concentrations in g/dL. Result: ratio; one decimal. |
| Calculated VLDL cholesterol | Triglycerides ÷ 5 | Triglycerides in mg/dL. Result: mg/dL; whole number. |
| Calculated LDL cholesterol | Total cholesterol − HDL cholesterol − (triglycerides ÷ 5) | All concentrations in mg/dL. Result: mg/dL; whole number. |
| Cholesterol HDL ratio | Total cholesterol ÷ HDL cholesterol | Both concentrations in mg/dL. Result: ratio; one decimal. |
| BUN creatinine ratio | Blood urea nitrogen ÷ serum creatinine | Both concentrations in mg/dL. Result: ratio; one decimal. |
| Mean plasma glucose MPG | 35.6 × HbA1c − 77.3 | HbA1c in %. Result: mg/dL; whole number. |
| Estimated average glucose eAG | 28.7 × HbA1c − 46.7 | HbA1c in %. Result: mg/dL; whole number. |

Calculated LDL and VLDL cholesterol are not reported using these equations when triglycerides are 400 mg/dL or greater. MPG and eAG use different equations and may produce different estimates from the same HbA1c result.

# Timed urine calculations

| Calculated result | Equation | Variables and units |
| --- | --- | --- |
| Urine flow rate | Urine volume ÷ collection time | Volume in mL; time in minutes. Result: mL/min. A 24 hour collection is 1,440 minutes. |
| Body surface area BSA | 0.20247 × height^0.725 × weight^0.425 | Height in meters; weight in kg. Result: m². |
| Creatinine clearance | (Urine creatinine × urine flow × 1.73) ÷ (serum creatinine × BSA) | Urine and serum creatinine in matching units. Result: mL/min/1.73 m². |
| 24 hour urine creatinine | Urine creatinine × 24 hour urine volume ÷ 100 | Creatinine in mg/dL; volume in mL. Result: mg/24 hours. |

# Hematology and coagulation

| Calculated result | Equation | Variables and units |
| --- | --- | --- |
| Mean corpuscular hemoglobin MCH | (Hemoglobin ÷ RBC count) × 10 | Hemoglobin in g/dL; RBC in 10⁶/µL. Result: pg. |
| Mean corpuscular hemoglobin concentration MCHC | (Hemoglobin ÷ hematocrit) × 100 | Hemoglobin in g/dL; hematocrit in %. Result: g/dL. |
| Mean corpuscular volume MCV recalculation | (Hematocrit ÷ RBC count) × 10 | Hematocrit in %; RBC in 10⁶/µL. Result: fL. |
| International normalized ratio INR | (Patient PT ÷ mean normal PT)^ISI | PT values in seconds. ISI is the international sensitivity index for the reagent and instrument. |

# CD4 and CD8 lymphocyte testing

| Calculated result | Equation | Variables and units |
| --- | --- | --- |
| Absolute CD4 and CD8 counts | (Target cell events ÷ bead events) × (beads per tube ÷ blood volume) | Blood volume in µL; bead count is lot specific. Result: cells/µL. |
| CD4 and CD8 percentages | (Target lymphocyte events ÷ total lymphocyte events) × 100 | Software applies lymphocyte gating and purity correction. Result: %. |

Prepared by:

Andy Warmington, MLS(ASCP)CM

1/1/2026